## Sheet1
Note 1:
14C isotope ratios are given as fraction modern (F14C), which is the fraction with respect to the standard isotope ratio including
normalization for δ13C (e.g. Reimers et al., Radiocarbon 46 (2004) 1299.
These values are quoted as 14aN by W.G. Mook and J. van der Plicht, Radiocarbon 41 (1999) 227.
Note 2:
Common alternative parameterization of the 14C concentrations are pMC (percent modern Carbon) and the
"conventional radiocarbon age". The conventional radiocarbon age is equal to -8033 * ln(F14C), but not the real age.
pMC can be calculated from F14C by multiplying with 100. Note, the uncertainties of pMC are analogeous those of F14C
also multiplied by a factor 100.
Note 3:
For the determination of the calendar ages programs like e.g. OxCal or Calib have to be used. In this case the use of F14C
instead of the conventional age is recommanded (easier with respect to the uncertainty).
Note 4:
The depletion Δ14C is, in contrast to F14C, additionally corrected for the decay between 1950 and the measurement time
(M. Stuiver and H. Polach, Radiocarbon 19 (1977) 355). These values are quoted as "14δsN" by W.G. Mook and
J. van der Plicht, Radiocarbon 41 (1999) 227.
Note 5:
The quoted uncertainties are based on the statistical uncertainty of the number of 14C counts, the scattering of the
single measurements of the respective sample, plus a contribution from the calibration by the standards
(A. Steinhof, Radiocarbon 55 (2013) 282). Not included is an additional (machine-dependent) contribution.
Note 6:
The calculation of the uncertainties do not include any contributions due to current variations. Instead, if applicable,
lower currents at levels below 1/2, 1/4, or 1/10 of the mean current are indicated under remarks.
P-Nr. | Probe | F14C | err | ∆14C (‰) | err (‰) | remark
30317 | 28_GRrf_comp_2001_0-8_MOM
30318 | 35_GRpp_comp_2001_15-27_MOM
30319 | 29_GRrf_comp_2001_8-27_MOM
30320 | 19_BSrf_comp_2019_0-10_MOM_R
30321 | 43_BSrf_comp_2001_0-8_MOM
30322 | 44_BSrf_comp_2001_8-15_MOM
30323 | 32_GRwf_comp_2001_13-28_MOM
30324 | 31_GRwf_comp_2001_4-13_MOM
30325 | 30_GRwf_comp_2001_0-4_MOM
30326 | 34_GRpp_comp_2001_7-15_MOM
30327 | 45_BSrf_comp_2001_15-30_MOM
30328 | 49_BSpp_comp_2001_7-18_MOM
30329 | 50_BSpp_comp_2001_18-28_MOM
30330 | 36_ANrf_comp_2001_0-11_MOM
30331 | 33_GRpp_comp_2001_0-7_MOM
30332 | 37_ANrf_comp_2001_11-32_MOM
30333 | 10_ANrf_comp_2019_0-10_MOM_R
30334 | 46_BSwf_comp_2001_0-10_MOM
30335 | 42_ANpp_comp_2001_13-33_MOM
30336 | 11_ANrf_comp_2019_10-20_MOM_R
30337 | 48_BSpp_comp_2001_0-7_MOM
30338 | 12_ANrf_comp_2019_20-30_MOM_R
30339 | 38_ANwf_comp_2001_0-11_MOM
30340 | 25_BSpp_comp_2019_0-10_MOM_R
30341 | 41_ANpp_comp_2001_6-13_MOM
30342 | 40_ANpp_comp_2001_0-6_MOM
30343 | 39_ANwf_comp_2001_11-35_MOM
30344 | 47_BSwf_comp_2001_10-19_MOM
30345 | 2_GRrf_comp_2019_10-20_OPOM | 0.9741 | 0.0021 | -34.3 | 2.1
30346 | 3_GRrf_comp_2019_20-30_OPOM | 0.9719 | 0.002 | -36.5 | 2
30347 | 4_GRwf_comp_2019_0-10_OPOM | 1.0158 | 0.002 | 7 | 2
30348 | 5_GRwf_comp_2019_10-20_OPOM | 1.0026 | 0.0019 | -6.1 | 1.9
30349 | 6_GRwf_comp_2019_20-30_OPOM | 0.9783 | 0.0018 | -30.2 | 1.8
30350 | 7_GRpp_comp_2019_0-10_OPOM | 1.0843 | 0.002 | 74.9 | 2
30351 | 8_GRpp_comp_2019_10-20_OPOM | 1.0719 | 0.002 | 62.6 | 2
30352 | 9_GRpp_comp_2019_20-30_OPOM | 1.0318 | 0.0019 | 22.9 | 1.9
30353 | 29_GRrf_comp_2001_8-27_OPOM | 0.9307 | 0.002 | -77.4 | 2
30354 | ANpp_2019_L | 1.0609 | 0.002 | 51.7 | 2
30355 | ANrf_2019_L | 1.0829 | 0.002 | 73.5 | 2
30356 | ANwf_2019_L | 1.1107 | 0.002 | 101.1 | 2
30357 | BSpp_2019_L | 1.0584 | 0.002 | 49.2 | 2
30358 | BSrf_2019_L | 1.0899 | 0.002 | 80.4 | 2
30359 | BSwf_2019_L | 1.0801 | 0.0019 | 70.7 | 1.9
30360 | GRpp_2019_L | 1.0708 | 0.002 | 61.5 | 2
30361 | GRrf_2019_L | 1.1047 | 0.0028 | 95.1 | 2.8
30362 | GRwf_2019_L | 1.0845 | 0.003 | 75.1 | 3